## Hybrid Panel testing
Day 3-5 |  |  | With Solar Tracking System |  |  | Rain Energy Harvester using Piezoelectric Transducer |  |  | Avg Heat Index |  | Avg Humidty |  | Avg Solar Power |  | Avg Piezo Power
(Dual Axis)
Hours | Heat Index (°C) | Average Humidity (%) | Average Voltage (V) | Average Current (A) | Average Power (W) | Average Voltage (V) | Average Current (A) | Average Power (W) | Mean | 30.6786 | Mean | 63.434 | Mean | 1.0293 | Mean | 0.020681
[9 empty] | Standard Error | 0.42451 | Standard Error | 1.4703 | Standard Error | 0.23814 | Standard Error | 0.0053955
[9 empty] | Median | 30.52 | Median | 60.2 | Median | 0.484 | Median | 4e-07
8:00 | 29.82 | 75.13 | 0.9 | 0.36 | 0.324 | 0.41 | 0.164 | 0.06724 | Mode | 35.1 | Mode | 61 | Mode | 0.324 | Mode | 4e-07
9:00 | 30.91 | 75.19 | 0.94 | 0.376 | 0.35344 | 0.4 | 0.16 | 0.064 | Standard Deviation | 2.547 | Standard Deviation | 8.6985 | Standard Deviation | 1.4089 | Standard Deviation | 0.03192
10:00 | 29.99 | 75.59 | 0.95 | 0.38 | 0.361 | 0.38 | 0.152 | 0.05776 | Sample Variance | 6.4874 | Sample Variance | 75.6635 | Sample Variance | 1.985 | Sample Variance | 0.0010189
11:00 | 28.92 | 74.21 | 0.9 | 0.36 | 0.324 | 0.4 | 0.16 | 0.064 | Kurtosis | -0.57952 | Kurtosis | -0.31813 | Kurtosis | 7.7021 | Kurtosis | -0.53883
12:00 | 30.94 | 73.12 | 0.98 | 0.392 | 0.38416 | 0.43 | 0.172 | 0.07396 | Skewness | 0.12047 | Skewness | 0.046431 | Skewness | 2.6132 | Skewness | 1.0519
13:00 | 30.11 | 74.01 | 1.01 | 0.404 | 0.40804 | 0.4 | 0.16 | 0.064 | Range | 9.85 | Range | 35.52 | Range | 6.6903 | Range | 0.1
14:00 | 30.25 | 74.11 | 0.99 | 0.396 | 0.39204 | 0.36 | 0.144 | 0.05184 | Minimum | 25.25 | Minimum | 40.9 | Minimum | 0.0009604 | Minimum | 4e-07
15:00 | 29.01 | 73.5 | 0.049 | 0.0196 | 0.0009604 | 0.5 | 0.2 | 0.1 | Maximum | 35.1 | Maximum | 76.42 | Maximum | 6.6912 | Maximum | 0.1
16:00 | 28.52 | 75.6 | 0.089 | 0.0356 | 0.0031684 | 0.34 | 0.136 | 0.04624 | Sum | 1104.43 | Sum | 2220.19 | Sum | 36.0242 | Sum | 0.72385
17:00 | 27.97 | 76.13 | 0.074 | 0.0296 | 0.0021904 | 0.43 | 0.172 | 0.07396 | Count | 36 | Count | 35 | Count | 35 | Count | 35
18:00 | 27.21 | 76.42 | 0.065 | 0.026 | 0.00169 | 0.39 | 0.156 | 0.06084 |  | z-Test: Two Sample for Means |  | Heat / Solar Power | z-Test: Two Sample for Means |  | Humidity / Solar Power
7:00 | 29.02 | 58.14 | 1.05 | 0.42 | 0.441 | 0.001 | 0.0004 | 4e-07
8:00 | 30.79 | 59.01 | 1.19 | 0.476 | 0.56644 | 0.001 | 0.0004 | 4e-07 |  |  | Heat | Solar Power |  | Humidty | Solar Power
9:00 | 31.1 | 59.9 | 1.4 | 0.56 | 0.784 | 0.001 | 0.0004 | 4e-07 |  | Mean | 30.6977 | 1.0293 | Mean | 63.434 | 1.0293
10:00 | 31.98 | 60.09 | 1.45 | 0.58 | 0.841 | 0.001 | 0.0004 | 4e-07 |  | Known Variance | 6.4874 | 1.985 | Known Variance | 75.6635 | 1.985
11:00 | 33.29 | 59.78 | 1.66 | 0.664 | 1.1022 | 0.001 | 0.0004 | 4e-07 |  | Observations | 35 | 35 | Observations | 35 | 35
12:00 | 32.21 | 58.62 | 1.69 | 0.676 | 1.1424 | 0.001 | 0.0004 | 4e-07 |  | Hypothesized Mean Difference | 0 |  | Hypothesized Mean Difference | 0
13:00 | 31.41 | 58.23 | 1.78 | 0.712 | 1.2674 | 0.001 | 0.0004 | 4e-07 |  | z | 60.3014 |  | z | 41.8972
14:00 | 29.25 | 56.98 | 1.12 | 0.448 | 0.50176 | 0.001 | 0.0004 | 4e-07 |  | P(Z<=z) one-tail | 0 |  | P(Z<=z) one-tail | 0
15:00 | 34.9 | 54.71 | 2.09 | 0.836 | 1.7472 | 0.001 | 0.0004 | 4e-07 |  | z Critical one-tail | 1.6449 |  | z Critical one-tail | 1.6449
16:00 | 31.97 | 59.33 | 1.81 | 0.724 | 1.3104 | 0.001 | 0.0004 | 4e-07 |  | P(Z<=z) two-tail | 0 |  | P(Z<=z) two-tail | 0
17:00 | 30.89 | 61.01 | 1.22 | 0.488 | 0.59536 | 0.001 | 0.0004 | 4e-07 |  | z Critical two-tail | 1.96 |  | z Critical two-tail | 1.96
18:00 | 29.1 | 58.07 | 1.03 | 0.412 | 0.42436 | 0.001 | 0.0004 | 4e-07 |  | z-Test: Two Sample for Means |  | Heat / Piezo Power | z-Test: Two Sample for Means |  | Humidty / Piezo Power
7:00 | 27 | 60.2 | 0.09 | 0.036 | 0.00324 | 0.001 | 0.0004 | 4e-07
8:00 | 27.2 | 61 | 0.12 | 0.048 | 0.00576 | 0.001 | 0.0004 | 4e-07 |  |  | Heat | Piezo Power |  | Humidty | Piezo Power
9:00 | 29.12 | 58 | 1.02 | 0.408 | 0.41616 | 0.001 | 0.0004 | 4e-07 |  | Mean | 30.6977 | 0.020681 | Mean | 63.434 | 0.020681
10:00 | 25.25 | 61.04 | 0.11 | 0.044 | 0.00484 | 0.001 | 0.0004 | 4e-07 |  | Known Variance | 6.4874 | 0.0010189 | Known Variance | 75.6635 | 0.0010189
11:00 | 33.03 | 63.05 | 2.29 | 0.916 | 2.0976 | 0.001 | 0.0004 | 4e-07 |  | Observations | 35 | 35 | Observations | 35 | 35
12:00 | 35.1 | 65.9 | 2.54 | 1.016 | 2.5806 | 0.001 | 0.0004 | 4e-07 |  | Hypothesized Mean Difference | 0 |  | Hypothesized Mean Difference | 0
13:00 | 35.1 | 61 | 2.95 | 1.18 | 3.481 | 0.001 | 0.0004 | 4e-07 |  | z | 71.249 |  | z | 43.1289
14:00 | 33.9 | 54.7 | 4.09 | 1.636 | 6.6912 | 0.001 | 0.0004 | 4e-07 |  | P(Z<=z) one-tail | 0 |  | P(Z<=z) one-tail | 0
15:00 | 33.89 | 53.59 | 3.37 | 1.348 | 4.5428 | 0.001 | 0.0004 | 4e-07 |  | z Critical one-tail | 1.6449 |  | z Critical one-tail | 1.6449
16:00 | 32.67 | 58.03 | 1.93 | 0.772 | 1.49 | 0.001 | 0.0004 | 4e-07 |  | P(Z<=z) two-tail | 0 |  | P(Z<=z) two-tail | 0
17:00 | 35.1 | 55.9 | 1.54 | 0.616 | 0.94864 | 0.001 | 0.0004 | 4e-07 |  | z Critical two-tail | 1.96 |  | z Critical two-tail | 1.96
18:00 | 27.5 | 40.9 | 1.1 | 0.44 | 0.484 | 0.001 | 0.0004 | 4e-07
Sample Variance | 6.4874 | 75.6635 |  |  | 1.985 |  |  | 0.0010189
Covariance | 6.4742 | 73.5016 |  |  | 1.9282 |  |  | 0.00098978

## Solar Panel testing
Day 1-2 |  |  | Solar
Panel Testing
Hours | Heat Index (°C) | Average Humidity (%) | Average Voltage (V) | Average Current (A) | Average Power (W)
8:00 | 29.4 | 70.6 | 1.04 | 0.416 | 0.43264
9:00 | 30.6 | 65.9 | 1.05 | 0.42 | 0.441
10:00 | 31.5 | 60.8 | 1.139 | 0.4556 | 0.51893
11:00 | 31.3 | 60.8 | 1.124 | 0.4496 | 0.50535
12:00 | 30.6 | 65.8 | 1.05 | 0.42 | 0.441
13:00 | 29.4 | 70.6 | 1.04 | 0.416 | 0.43264
14:00 | 29.7 | 70.5 | 1.01 | 0.404 | 0.40804
15:00 | 28.8 | 72.4 | 0.958 | 0.3832 | 0.36711
16:00 | 28.5 | 72.3 | 0.95 | 0.38 | 0.361
17:00 | 28.3 | 72.1 | 0.085 | 0.034 | 0.00289
18:00 | 27.8 | 71.19 | 0.041 | 0.0164 | 0.0006724
7:00 | 27.5 | 68.19 | 0.04 | 0.016 | 0.00064
8:00 | 27.9 | 68.6 | 0.045 | 0.018 | 0.00081
9:00 | 28.5 | 69 | 0.95 | 0.38 | 0.361
10:00 | 27.85 | 75.3 | 0.93 | 0.372 | 0.34596
11:00 | 27.3 | 77.6 | 0.91 | 0.364 | 0.33124
12:00 | 27.5 | 77.45 | 0.04 | 0.016 | 0.00064
13:00 | 27.4 | 80 | 0.041 | 0.0164 | 0.0006724
14:00 | 27.35 | 80.36 | 0.039 | 0.0156 | 0.0006084
15:00 | 27.5 | 80.4 | 0.043 | 0.0172 | 0.0007396
16:00 | 27.31 | 81.04 | 0.041 | 0.0164 | 0.0006724
17:00 | 26.58 | 81.21 | 0.039 | 0.0156 | 0.0006084
18:00 | 26.3 | 81.3 | 0.035 | 0.014 | 0.00049
Sample Variance | 2.1373 | 40.223 |  |  | 0.045985
Covariance | 2.0444 | 38.4742 |  |  | 0.043986
Avg Heat Index |  | Avg Humidity |  | Avg Solar Power |  | z-Test: Two Sample for Means |  | Heat / Solar | z-Test: Two Sample for Means |  | Humidity / Solar
Mean | 28.4735 | Mean | 72.7583 | Mean | 0.21545 |  | Heat | Solar |  | Humidity | Solar
Standard Error | 0.30484 | Standard Error | 1.3224 | Standard Error | 0.044714 | Mean | 28.4735 | 0.21545 | Mean | 72.7583 | 0.21545
Median | 27.9 | Median | 72.1 | Median | 0.33124 | Known Variance | 2.1373 | 0.045985 | Known Variance | 40.223 | 0.045985
Mode | 27.5 | Mode | 70.6 | Mode | 0.0006724 | Observations | 23 | 23 | Observations | 23 | 23
Standard Deviation | 1.462 | Standard Deviation | 6.3422 | Standard Deviation | 0.21444 | Hypothesized Mean Difference | 0 |  | Hypothesized Mean Difference | 0
Sample Variance | 2.1373 | Sample Variance | 40.223 | Sample Variance | 0.045985 | z | 91.7165 |  | z | 54.8243
Kurtosis | -0.35311 | Kurtosis | -0.79229 | Kurtosis | -1.9946 | P(Z<=z) one-tail | 0 |  | P(Z<=z) one-tail | 0
Skewness | 0.74238 | Skewness | -0.20341 | Skewness | 0.038488 | z Critical one-tail | 1.6449 |  | z Critical one-tail | 1.6449
Range | 5.2 | Range | 20.5 | Range | 0.51844 | P(Z<=z) two-tail | 0 |  | P(Z<=z) two-tail | 0
Minimum | 26.3 | Minimum | 60.8 | Minimum | 0.00049 | z Critical two-tail | 1.96 |  | z Critical two-tail | 1.96
Maximum | 31.5 | Maximum | 81.3 | Maximum | 0.51893
Sum | 654.89 | Sum | 1673.44 | Sum | 4.9553
Count | 23 | Count | 23 | Count | 23

## DAY1
Hours | Average Heat index °C | Average Humidity (%) | Average Solar Voltage (V) | Average Solar Current (A) | Average Solar Power (W)
7:00 | 27.5 | 70.19 | 0.04 | 0.016 | 0.00064
8:00 | 29.4 | 70.6 | 1.04 | 0.416 | 0.43264
9:00 | 30.6 | 65.9 | 1.05 | 0.42 | 0.441
10:00 | 31.5 | 60.8 | 1.139 | 0.4556 | 0.51893
11:00 | 31.3 | 60.8 | 1.124 | 0.4496 | 0.50535
12:00 | 30.6 | 65.8 | 1.05 | 0.42 | 0.441
13:00 | 29.4 | 70.6 | 1.04 | 0.416 | 0.43264
14:00 | 29.7 | 70.5 | 1.01 | 0.404 | 0.40804
15:00 | 28.8 | 72.4 | 0.958 | 0.3832 | 0.36711
16:00 | 28.5 | 72.3 | 0.95 | 0.38 | 0.361
17:00 | 28.3 | 72.1 | 0.085 | 0.034 | 0.00289
18:00 | 27.8 | 71.19 | 0.041 | 0.0164 | 0.0006724
Sample Variance | 1.7736 | 18.0033 |  |  | 0.040393
Covariance | 1.6258 | 16.503 |  |  | 0.037027
Avg Heat Index |  | Avg Solar Power |  | Avg Humidity |  | z-Test: Two Sample for Means |  | Heat / Solar | z-Test: Two Sample for Means |  | Humidity / Solar
Mean | 29.45 | Mean | 0.32599 | Mean | 68.5983 |  | Heat | Solar Power |  | Humidity | Solar Power
Standard Error | 0.38445 | Standard Error | 0.058018 | Standard Error | 1.2249 | Mean | 29.45 | 0.32599 | Mean | 68.5983 | 0.32599
Median | 29.4 | Median | 0.42034 | Median | 70.55 | Known Variance | 1.7736 | 0.040393 | Known Variance | 18.0033 | 0.040393
Mode | 29.4 | Mode | 0.43264 | Mode | 70.6 | Observations | 12 | 12 | Observations | 12 | 12
Standard Deviation | 1.3318 | Standard Deviation | 0.20098 | Standard Deviation | 4.243 | Hypothesized Mean Difference | 0 |  | Hypothesized Mean Difference | 0
Sample Variance | 1.7736 | Sample Variance | 0.040393 | Sample Variance | 18.0033 | z | 74.9065 |  | z | 55.6766
Kurtosis | -1.1536 | Kurtosis | -0.51958 | Kurtosis | -0.068776 | P(Z<=z) one-tail | 0 |  | P(Z<=z) one-tail | 0
Skewness | 0.15906 | Skewness | -1.1223 | Skewness | -1.1383 | z Critical one-tail | 1.6449 |  | z Critical one-tail | 1.6449
Range | 4 | Range | 0.51829 | Range | 11.6 | P(Z<=z) two-tail | 0 |  | P(Z<=z) two-tail | 0
Minimum | 27.5 | Minimum | 0.00064 | Minimum | 60.8 | z Critical two-tail | 1.96 |  | z Critical two-tail | 1.96
Maximum | 31.5 | Maximum | 0.51893 | Maximum | 72.4
Sum | 353.4 | Sum | 3.9119 | Sum | 823.18
Count | 12 | Count | 12 | Count | 12

## DAY2
Hours | Average Heat index °C | Average Humidity (%) | Average Solar Voltage (V) | Average Solar Current (A) | Average Solar Power (W)
7:00 | 27.5 | 68.19 | 0.04 | 0.016 | 0.00064
8:00 | 27.9 | 68.6 | 0.045 | 0.018 | 0.00081
9:00 | 28.5 | 69 | 0.95 | 0.38 | 0.361
10:00 | 27.85 | 75.3 | 0.93 | 0.372 | 0.34596
11:00 | 27.3 | 77.6 | 0.91 | 0.364 | 0.33124
12:00 | 27.5 | 77.45 | 0.04 | 0.016 | 0.00064
13:00 | 27.4 | 80 | 0.041 | 0.0164 | 0.0006724
14:00 | 27.35 | 80.36 | 0.039 | 0.0156 | 0.0006084
15:00 | 27.5 | 80.4 | 0.043 | 0.0172 | 0.0007396
16:00 | 27.31 | 81.04 | 0.041 | 0.0164 | 0.0006724
17:00 | 26.58 | 81.21 | 0.039 | 0.0156 | 0.0006084
18:00 | 26.3 | 81.3 | 0.035 | 0.014 | 0.00049
Sample Variance | 0.32659 | 27.1785 |  |  | 0.024445
Covariance | 0.29937 | 24.9136 |  |  | 0.022408
Avg Heat Index |  | Avg Solar Power |  | Avg Humidity |  | z-Test: Two Sample for Means |  | Heat / Solar | z-Test: Two Sample for Means |  | Humidity / Solar
Mean | 27.4158 | Mean | 0.087007 | Mean | 76.7042 |  | Heat | Solar Power |  | Humidity | Solar Power
Standard Error | 0.16497 | Standard Error | 0.045134 | Standard Error | 1.505 | Mean | 27.4158 | 0.087007 | Mean | 76.7042 | 0.087007
Median | 27.45 | Median | 0.0006724 | Median | 78.8 | Known Variance | 0.32659 | 0.024445 | Known Variance | 27.1785 | 0.024445
Mode | 27.5 | Mode | 0.00064 | Mode | #N/A | Observations | 12 | 12 | Observations | 12 | 12
Standard Deviation | 0.57148 | Standard Deviation | 0.15635 | Standard Deviation | 5.2133 | Hypothesized Mean Difference | 0 |  | Hypothesized Mean Difference | 0
Sample Variance | 0.32659 | Sample Variance | 0.024445 | Sample Variance | 27.1785 | z | 159.7852 |  | z | 50.8872
Kurtosis | 1.1534 | Kurtosis | -0.29106 | Kurtosis | -0.87803 | P(Z<=z) one-tail | 0 |  | P(Z<=z) one-tail | 0
Skewness | -0.29505 | Skewness | 1.3332 | Skewness | -0.92635 | z Critical one-tail | 1.6449 |  | z Critical one-tail | 1.6449
Range | 2.2 | Range | 0.36051 | Range | 13.11 | P(Z<=z) two-tail | 0 |  | P(Z<=z) two-tail | 0
Minimum | 26.3 | Minimum | 0.00049 | Minimum | 68.19 | z Critical two-tail | 1.96 |  | z Critical two-tail | 1.96
Maximum | 28.5 | Maximum | 0.361 | Maximum | 81.3
Sum | 328.99 | Sum | 1.0441 | Sum | 920.45
Count | 12 | Count | 12 | Count | 12

## DAY3
Day 3 |  |  | With Solar Tracking System |  |  | Rain Energy Harvester using Piezoelectric Transducer |  |  | Total including both features
(Dual Axis)
Hours | Heat Index (°C) | Average Humidity (%) | Average Voltage (V) | Average Current (A) | Average Power (W) | Average Voltage (V) | Average Current (A) | Average Power (W) | Average Power (W)
9:00 | 30.91 | 75.19 | 0.94 | 0.376 | 0.35344 | 0.4 | 0.16 | 0.064 | 0.41744
10:00 | 29.99 | 75.59 | 0.95 | 0.38 | 0.361 | 0.38 | 0.152 | 0.05776 | 0.41876
11:00 | 28.92 | 74.21 | 0.9 | 0.36 | 0.324 | 0.4 | 0.16 | 0.064 | 0.388
12:00 | 30.94 | 73.12 | 0.98 | 0.392 | 0.38416 | 0.43 | 0.172 | 0.07396 | 0.45812
13:00 | 30.11 | 74.01 | 1.01 | 0.404 | 0.40804 | 0.4 | 0.16 | 0.064 | 0.47204
14:00 | 30.25 | 74.11 | 0.99 | 0.396 | 0.39204 | 0.36 | 0.144 | 0.05184 | 0.44388
15:00 | 29.01 | 73.5 | 0.049 | 0.0196 | 0.0009604 | 0.5 | 0.2 | 0.1 | 0.10096
16:00 | 28.52 | 75.6 | 0.089 | 0.0356 | 0.0031684 | 0.34 | 0.136 | 0.04624 | 0.049408
17:00 | 27.97 | 76.13 | 0.074 | 0.0296 | 0.0021904 | 0.43 | 0.172 | 0.07396 | 0.07615
18:00 | 27.21 | 76.42 | 0.065 | 0.026 | 0.00169 | 0.39 | 0.156 | 0.06084 | 0.06253
Sample Variance | 1.5802 | 1.3076 |  |  | 0.036712 |  |  | 0.00021989
Covariance | 1.4221 | 1.1769 |  |  | 0.033041 |  |  | 0.00019791
Avg Heat Index |  | Avg Humidty |  | Avg Solar Power |  | Avg Piezo Power
Mean | 29.383 | Mean | 74.788 | Mean | 0.22307 | Mean | 0.06566
Standard Error | 0.39751 | Standard Error | 0.36161 | Standard Error | 0.060591 | Standard Error | 0.0046893
Median | 29.5 | Median | 74.7 | Median | 0.33872 | Median | 0.064
Mode | #N/A | Mode | #N/A | Mode | #N/A | Mode | 0.064
Standard Deviation | 1.257 | Standard Deviation | 1.1435 | Standard Deviation | 0.1916 | Standard Deviation | 0.014829
Sample Variance | 1.5802 | Sample Variance | 1.3076 | Sample Variance | 0.036712 | Sample Variance | 0.00021989
Kurtosis | -0.91307 | Kurtosis | -1.4809 | Kurtosis | -2.2393 | Kurtosis | 2.807
Skewness | -0.36927 | Skewness | 0.011764 | Skewness | -0.43468 | Skewness | 1.3228
Range | 3.73 | Range | 3.3 | Range | 0.40708 | Range | 0.05376
Minimum | 27.21 | Minimum | 73.12 | Minimum | 0.0009604 | Minimum | 0.04624
Maximum | 30.94 | Maximum | 76.42 | Maximum | 0.40804 | Maximum | 0.1
Sum | 293.83 | Sum | 747.88 | Sum | 2.2307 | Sum | 0.6566
Count | 10 | Count | 10 | Count | 10 | Count | 10
| z-Test: Two Sample for Means |  | Heat / Solar | z-Test: Two Sample for Means |  | Humidity / Solar
|  | Heat | Solar |  | Humidity | Solar
| Mean | 29.383 | 0.22307 | Mean | 74.788 | 0.22307
| Known Variance | 1.5802 | 0.036712 | Known Variance | 1.3076 | 0.036712
| Observations | 10 | 10 | Observations | 10 | 10
| Hypothesized Mean Difference | 0 |  | Hypothesized Mean Difference | 0
| z | 72.5185 |  | z | 203.3659
| P(Z<=z) one-tail | 0 |  | P(Z<=z) one-tail | 0
| z Critical one-tail | 1.6449 |  | z Critical one-tail | 1.6449
| P(Z<=z) two-tail | 0 |  | P(Z<=z) two-tail | 0
| z Critical two-tail | 1.96 |  | z Critical two-tail | 1.96
| z-Test: Two Sample for Means |  | Heat / Piezo | z-Test: Two Sample for Means |  | Humidity / Piezo
|  | Heat | Piezo |  | Humidity | Piezo
| Mean | 29.383 | 0.06566 | Mean | 74.788 | 0.06566
| Known Variance | 1.5802 | 0.0002199 | Known Variance | 1.3076 | 0.0002199
| Observations | 10 | 10 | Observations | 10 | 10
| Hypothesized Mean Difference | 0 |  | Hypothesized Mean Difference | 0
| z | 73.747 |  | z | 206.6188
| P(Z<=z) one-tail | 0 |  | P(Z<=z) one-tail | 0
| z Critical one-tail | 1.6449 |  | z Critical one-tail | 1.6449
| P(Z<=z) two-tail | 0 |  | P(Z<=z) two-tail | 0
| z Critical two-tail | 1.96 |  | z Critical two-tail | 1.96
0.31684 | 0.06084 | 0.37768
0.324 | 0.06724 | 0.39124

## DAY4
Day 4 |  |  | With Solar Tracking System |  |  | Rain Energy Harvester using Piezoelectric Transducer |  |  | Total including both features
(Dual Axis)
Hours | Heat Index (°C) | Average Humidity (%) | Average Voltage (V) | Average Current (A) | Average Power (W) | Average Voltage (V) | Average Current (A) | Average Power (W) | Average Power (W)
9:00 | 31.1 | 59.9 | 1.4 | 0.56 | 0.784 | 0.001 | 0.0004 | 4e-07 | 0.784
10:00 | 31.98 | 60.09 | 1.45 | 0.58 | 0.841 | 0.001 | 0.0004 | 4e-07 | 0.841
11:00 | 33.29 | 59.78 | 1.66 | 0.664 | 1.1022 | 0.001 | 0.0004 | 4e-07 | 1.1022
12:00 | 32.21 | 58.62 | 1.69 | 0.676 | 1.1424 | 0.001 | 0.0004 | 4e-07 | 1.1424
13:00 | 31.41 | 58.23 | 1.78 | 0.712 | 1.2674 | 0.001 | 0.0004 | 4e-07 | 1.2674
14:00 | 29.25 | 56.98 | 1.12 | 0.448 | 0.50176 | 0.001 | 0.0004 | 4e-07 | 0.50176
15:00 | 34.9 | 54.71 | 2.09 | 0.836 | 1.7472 | 0.001 | 0.0004 | 4e-07 | 1.7472
16:00 | 31.97 | 59.33 | 1.81 | 0.724 | 1.3104 | 0.001 | 0.0004 | 4e-07 | 1.3104
17:00 | 30.89 | 61.01 | 1.22 | 0.488 | 0.59536 | 0.001 | 0.0004 | 4e-07 | 0.59536
18:00 | 29.1 | 58.07 | 1.03 | 0.412 | 0.42436 | 0.001 | 0.0004 | 4e-07 | 0.42436
Sample Variance | 2.9957 | 3.3074 |  |  | 0.1738 |  |  | 0
Covariance | 2.6961 | 2.9766 |  |  | 0.15642 |  |  | 0
Avg Heat Index |  | Avg Humidity |  | Avg Solar Power |  | Avg Piezo Power
Mean | 31.61 | Mean | 58.672 | Mean | 0.97162 | Mean | 4e-07
Standard Error | 0.54733 | Standard Error | 0.5751 | Standard Error | 0.13183 | Standard Error | 0
Median | 31.69 | Median | 58.975 | Median | 0.97162 | Median | 4e-07
Mode | #N/A | Mode | #N/A | Mode | #N/A | Mode | 4e-07
Standard Deviation | 1.7308 | Standard Deviation | 1.8186 | Standard Deviation | 0.41689 | Standard Deviation | 0
Sample Variance | 2.9957 | Sample Variance | 3.3074 | Sample Variance | 0.1738 | Sample Variance | 0
Kurtosis | 0.43581 | Kurtosis | 1.5001 | Kurtosis | -0.40942 | Kurtosis | #DIV/0!
Skewness | 0.29987 | Skewness | -1.1133 | Skewness | 0.40034 | Skewness | #DIV/0!
Range | 5.8 | Range | 6.3 | Range | 1.3229 | Range | 0
Minimum | 29.1 | Minimum | 54.71 | Minimum | 0.42436 | Minimum | 4e-07
Maximum | 34.9 | Maximum | 61.01 | Maximum | 1.7472 | Maximum | 4e-07
Sum | 316.1 | Sum | 586.72 | Sum | 9.7162 | Sum | 4e-06
Count | 10 | Count | 10 | Count | 10 | Count | 10
| z-Test: Two Sample for Means |  | Heat / Solar | z-Test: Two Sample for Means |  | Humidity / Solar
|  | Heat | Solar |  | Humidity | Solar
| Mean | 31.61 | 0.97162 | Mean | 58.672 | 0.97162
| Known Variance | 2.9957 | 0.1738 | Known Variance | 3.3074 | 0.1738
| Observations | 10 | 10 | Observations | 10 | 10
| Hypothesized Mean Difference | 0 |  | Hypothesized Mean Difference | 0
| z | 54.4216 |  | z | 97.7948
| P(Z<=z) one-tail | 0 |  | P(Z<=z) one-tail | 0
| z Critical one-tail | 1.6449 |  | z Critical one-tail | 1.6449
| P(Z<=z) two-tail | 0 |  | P(Z<=z) two-tail | 0
| z Critical two-tail | 1.96 |  | z Critical two-tail | 1.96
|  |  | 0.441 | 4e-07 | 0.441
|  |  | 0.56644 | 4e-07 | 0.56644

## DAY5
Day 5 |  |  | With Solar Tracking System |  |  | Rain Energy Harvester using Piezoelectric Transducer |  |  | Total including both features
(Dual Axis)
Hours | Heat Index (°C) | Average Humidity (%) | Average Voltage (V) | Average Current (A) | Average Power (W) | Average Voltage (V) | Average Current (A) | Average Power (W) | Average Power (W)
9:00 | 29.12 | 58 | 1.02 | 0.408 | 0.41616 | 0.001 | 0.0004 | 4e-07 | 0.41616
10:00 | 25.25 | 61.04 | 0.11 | 0.044 | 0.00484 | 0.001 | 0.0004 | 4e-07 | 0.0048404
11:00 | 33.03 | 63.05 | 2.29 | 0.916 | 2.0976 | 0.001 | 0.0004 | 4e-07 | 2.0976
12:00 | 35.1 | 65.9 | 2.54 | 1.016 | 2.5806 | 0.001 | 0.0004 | 4e-07 | 2.5806
13:00 | 35.1 | 61 | 2.95 | 1.18 | 3.481 | 0.001 | 0.0004 | 4e-07 | 3.481
14:00 | 33.9 | 54.7 | 4.09 | 1.636 | 6.6912 | 0.001 | 0.0004 | 4e-07 | 6.6912
15:00 | 33.89 | 53.59 | 3.37 | 1.348 | 4.5428 | 0.001 | 0.0004 | 4e-07 | 4.5428
16:00 | 32.67 | 58.03 | 1.93 | 0.772 | 1.49 | 0.001 | 0.0004 | 4e-07 | 1.49
17:00 | 35.1 | 55.9 | 1.54 | 0.616 | 0.94864 | 0.001 | 0.0004 | 4e-07 | 0.94864
18:00 | 27.5 | 40.9 | 1.1 | 0.44 | 0.484 | 0.001 | 0.0004 | 4e-07 | 0.484
Sample Variance | 12.3984 | 47.4542 |  |  | 4.4908 |  |  | 0
Covariance | 11.1585 | 42.7088 |  |  | 4.0417 |  |  | 0
Avg Heat Index |  | Avg Humidity |  | Avg Solar Power |  | Avg Piezo Power
Mean | 32.066 | Mean | 57.211 | Mean | 2.2737 | Mean | 4e-07
Standard Error | 1.1135 | Standard Error | 2.1784 | Standard Error | 0.67014 | Standard Error | 0
Median | 33.46 | Median | 58.015 | Median | 1.7938 | Median | 4e-07
Mode | 35.1 | Mode | #N/A | Mode | #N/A | Mode | 4e-07
Standard Deviation | 3.5211 | Standard Deviation | 6.8887 | Standard Deviation | 2.1192 | Standard Deviation | 0
Sample Variance | 12.3984 | Sample Variance | 47.4542 | Sample Variance | 4.4908 | Sample Variance | 0
Kurtosis | -0.15664 | Kurtosis | 3.2477 | Kurtosis | 0.65612 | Kurtosis | #DIV/0!
Skewness | -1.0826 | Skewness | -1.4609 | Skewness | 1.066 | Skewness | #DIV/0!
Range | 9.85 | Range | 25 | Range | 6.6864 | Range | 0
Minimum | 25.25 | Minimum | 40.9 | Minimum | 0.00484 | Minimum | 4e-07
Maximum | 35.1 | Maximum | 65.9 | Maximum | 6.6912 | Maximum | 4e-07
Sum | 320.66 | Sum | 572.11 | Sum | 22.7369 | Sum | 4e-06
Count | 10 | Count | 10 | Count | 10 | Count | 10
| z-Test: Two Sample for Means |  | Heat / Solar | z-Test: Two Sample for Means |  | Humidity / Solar
|  | Heat | Solar |  | Humidity | Solar
| Mean | 32.066 | 2.2737 | Mean | 57.211 | 2.2737
| Known Variance | 12.3984 | 4.4908 | Known Variance | 47.4542 | 4.4908
| Observations | 10 | 10 | Observations | 10 | 10
| Hypothesized Mean Difference | 0 |  | Hypothesized Mean Difference | 0
| z | 22.9245 |  | z | 24.1044
| P(Z<=z) one-tail | 0 |  | P(Z<=z) one-tail | 0
| z Critical one-tail | 1.6449 |  | z Critical one-tail | 1.6449
| P(Z<=z) two-tail | 0 |  | P(Z<=z) two-tail | 0
| z Critical two-tail | 1.96 |  | z Critical two-tail | 1.96
0.00324 | 4e-07 | 0.0032404
0.00576 | 4e-07 | 0.0057604

## Power Output
Power Output
| Total per day | Average per day
Solar Panel Day 1 | 3.91 | 0.33
Solar Panel Day 2 | 1.0441 | 0.087007
With Solar Tracking System Day3 | 2.872 | 0.239
With Solar Tracking System Day4 | 22.75 | 0.89364
With Solar Tracking System Day5 | 22.7459 | 1.89
With Rain energy harvester Day 3 | 3.5958 | 0.2993
With Rain energy harvester Day 4 | 22.75 | 0.89364
With Rain energy harvester Day 5 | 22.7459 | 1.89
Power Output
| Total per day | Average per day
Solar Panel | 4.9541 | 2.477
Added Solar Tracking System | 48.3679 | 16.1226
Added Solar Tracking System and Rain energy harvester using piezoelectric transducer | 49.0917 | 16.3639
Solar Panel | 3.91 | 0.33
Added Solar Tracking System | 22.7459 | 1.89
Added Solar Tracking System and Rain Energy Harvester Using Piezoelectric Transducer | 22.7459 | 1.89

## Piechart
Day 3 |  |  | Day 4 |  |  | Day 5
0.31684 | 0.06084 | 0.37768 | 0.441 | 4e-07 | 0.441 | 0.00324 | 4e-07 | 0.0032404
0.324 | 0.06724 | 0.39124 | 0.56644 | 4e-07 | 0.56644 | 0.00576 | 4e-07 | 0.0057604
0.35344 | 0.064 | 0.41744 | 0.784 | 4e-07 | 0.784 | 0.41616 | 4e-07 | 0.41616
0.361 | 0.05776 | 0.41876 | 0.841 | 4e-07 | 0.841 | 0.00484 | 4e-07 | 0.0048404
0.324 | 0.064 | 0.388 | 1.1022 | 4e-07 | 1.1022 | 2.0976 | 4e-07 | 2.0976
0.38416 | 0.07396 | 0.45812 | 1.1424 | 4e-07 | 1.1424 | 2.5806 | 4e-07 | 2.5806
0.40804 | 0.064 | 0.47204 | 1.2674 | 4e-07 | 1.2674 | 3.481 | 4e-07 | 3.481
0.39204 | 0.05184 | 0.44388 | 0.50176 | 4e-07 | 0.50176 | 6.6912 | 4e-07 | 6.6912
0.0009604 | 0.1 | 0.10096 | 1.7472 | 4e-07 | 1.7472 | 4.5428 | 4e-07 | 4.5428
0.0031684 | 0.04624 | 0.049408 | 1.3104 | 4e-07 | 1.3104 | 1.49 | 4e-07 | 1.49
0.0021904 | 0.07396 | 0.07615 | 0.59536 | 4e-07 | 0.59536 | 0.94864 | 4e-07 | 0.94864
0.00169 | 0.06084 | 0.06253 | 0.42436 | 4e-07 | 0.42436 | 0.484 | 4e-07 | 0.484
Solar | Piezo | Total | Solar | Piezo | Total | Solar | Piezo | Total
0.23929 | 0.06539 | 0.30468 | 0.89364 | 4e-07 | 0.89364 | 1.8955 | 4e-07 | 1.8955 | average
Solar | Piezo | Total | Solar | Piezo | Total | Solar | Piezo | Total
2.8715 | 0.78468 | 3.6562 | 10.7236 | 4.8e-06 | 10.7236 | 22.7459 | 4.8e-06 | 22.7459 | total

## Combined
Day 1-5 |  |  | With Solar Tracking System |  |  | Rain Energy Harvester using Piezoelectric Transducer
(Dual Axis)
Hours | Heat Index (°C) | Average Humidity (%) | Average Voltage (V) | Average Current (A) | Average Power (W) | Average Voltage (V) | Average Current (A) | Average Power (W)
7:00 | 30.01 | 74.19 | 0.89 | 0.356 | 0.31684 | 0.39 | 0.156 | 0.06084
8:00 | 29.82 | 75.13 | 0.9 | 0.36 | 0.324 | 0.41 | 0.164 | 0.06724
9:00 | 30.91 | 75.19 | 0.94 | 0.376 | 0.35344 | 0.4 | 0.16 | 0.064
10:00 | 29.99 | 75.59 | 0.95 | 0.38 | 0.361 | 0.38 | 0.152 | 0.05776
11:00 | 28.92 | 74.21 | 0.9 | 0.36 | 0.324 | 0.4 | 0.16 | 0.064
12:00 | 30.94 | 73.12 | 0.98 | 0.392 | 0.38416 | 0.43 | 0.172 | 0.07396
13:00 | 30.11 | 74.01 | 1.01 | 0.404 | 0.40804 | 0.4 | 0.16 | 0.064
14:00 | 30.25 | 74.11 | 0.99 | 0.396 | 0.39204 | 0.36 | 0.144 | 0.05184
15:00 | 29.01 | 73.5 | 0.049 | 0.0196 | 0.0009604 | 0.5 | 0.2 | 0.1
16:00 | 28.52 | 75.6 | 0.089 | 0.0356 | 0.0031684 | 0.34 | 0.136 | 0.04624
17:00 | 27.97 | 76.13 | 0.074 | 0.0296 | 0.0021904 | 0.43 | 0.172 | 0.07396
18:00 | 27.21 | 76.42 | 0.065 | 0.026 | 0.00169 | 0.39 | 0.156 | 0.06084
7:00 | 29.02 | 58.14 | 1.05 | 0.42 | 0.441 | 0.001 | 0.0004 | 4e-07
8:00 | 30.79 | 59.01 | 1.19 | 0.476 | 0.56644 | 0.001 | 0.0004 | 4e-07
9:00 | 31.1 | 59.9 | 1.4 | 0.56 | 0.784 | 0.001 | 0.0004 | 4e-07
10:00 | 31.98 | 60.09 | 1.45 | 0.58 | 0.841 | 0.001 | 0.0004 | 4e-07
11:00 | 33.29 | 59.78 | 1.66 | 0.664 | 1.1022 | 0.001 | 0.0004 | 4e-07
12:00 | 32.21 | 58.62 | 1.69 | 0.676 | 1.1424 | 0.001 | 0.0004 | 4e-07
13:00 | 31.41 | 58.23 | 1.78 | 0.712 | 1.2674 | 0.001 | 0.0004 | 4e-07
14:00 | 29.25 | 56.98 | 1.12 | 0.448 | 0.50176 | 0.001 | 0.0004 | 4e-07
15:00 | 34.9 | 54.71 | 2.09 | 0.836 | 1.7472 | 0.001 | 0.0004 | 4e-07
16:00 | 31.97 | 59.33 | 1.81 | 0.724 | 1.3104 | 0.001 | 0.0004 | 4e-07
17:00 | 30.89 | 61.01 | 1.22 | 0.488 | 0.59536 | 0.001 | 0.0004 | 4e-07
18:00 | 29.1 | 58.07 | 1.03 | 0.412 | 0.42436 | 0.001 | 0.0004 | 4e-07
7:00 | 27 | 60.2 | 0.09 | 0.036 | 0.00324 | 0.001 | 0.0004 | 4e-07
8:00 | 27.2 | 61 | 0.12 | 0.048 | 0.00576 | 0.001 | 0.0004 | 4e-07
9:00 | 29.12 | 58 | 1.02 | 0.408 | 0.41616 | 0.001 | 0.0004 | 4e-07
10:00 | 25.25 | 61.04 | 0.11 | 0.044 | 0.00484 | 0.001 | 0.0004 | 4e-07
11:00 | 33.03 | 63.05 | 2.29 | 0.916 | 2.0976 | 0.001 | 0.0004 | 4e-07
12:00 | 35.1 | 65.9 | 2.54 | 1.016 | 2.5806 | 0.001 | 0.0004 | 4e-07
13:00 | 35.1 | 61 | 2.95 | 1.18 | 3.481 | 0.001 | 0.0004 | 4e-07
14:00 | 33.9 | 54.7 | 4.09 | 1.636 | 6.6912 | 0.001 | 0.0004 | 4e-07
15:00 | 33.89 | 53.59 | 3.37 | 1.348 | 4.5428 | 0.001 | 0.0004 | 4e-07
16:00 | 32.67 | 58.03 | 1.93 | 0.772 | 1.49 | 0.001 | 0.0004 | 4e-07
17:00 | 35.1 | 55.9 | 1.54 | 0.616 | 0.94864 | 0.001 | 0.0004 | 4e-07
18:00 | 27.5 | 40.9 | 1.1 | 0.44 | 0.484 | 0.001 | 0.0004 | 4e-07
7:00 | 27.5 | 70.19 | 0.04 | 0.016 | 0.00064
8:00 | 29.4 | 70.6 | 1.04 | 0.416 | 0.43264
9:00 | 30.6 | 65.9 | 1.05 | 0.42 | 0.441
10:00 | 31.5 | 60.8 | 1.139 | 0.4556 | 0.51893
11:00 | 31.3 | 60.8 | 1.124 | 0.4496 | 0.50535
12:00 | 30.6 | 65.8 | 1.05 | 0.42 | 0.441
13:00 | 29.4 | 70.6 | 1.04 | 0.416 | 0.43264
14:00 | 29.7 | 70.5 | 1.01 | 0.404 | 0.40804
15:00 | 28.8 | 72.4 | 0.958 | 0.3832 | 0.36711
16:00 | 28.5 | 72.3 | 0.95 | 0.38 | 0.361
17:00 | 28.3 | 72.1 | 0.085 | 0.034 | 0.00289
18:00 | 27.8 | 71.19 | 0.041 | 0.0164 | 0.0006724
7:00 | 27.5 | 68.19 | 0.04 | 0.016 | 0.00064
8:00 | 27.9 | 68.6 | 0.045 | 0.018 | 0.00081
9:00 | 28.5 | 69 | 0.95 | 0.38 | 0.361
10:00 | 27.85 | 75.3 | 0.93 | 0.372 | 0.34596
11:00 | 27.3 | 77.6 | 0.91 | 0.364 | 0.33124
12:00 | 27.5 | 77.45 | 0.04 | 0.016 | 0.00064
13:00 | 27.4 | 80 | 0.041 | 0.0164 | 0.0006724
14:00 | 27.35 | 80.36 | 0.039 | 0.0156 | 0.0006084
15:00 | 27.5 | 80.4 | 0.043 | 0.0172 | 0.0007396
16:00 | 27.31 | 81.04 | 0.041 | 0.0164 | 0.0006724
17:00 | 26.58 | 81.21 | 0.039 | 0.0156 | 0.0006084
18:00 | 26.3 | 81.3 | 0.035 | 0.014 | 0.00049